## 0. dropdown 1 (hidden)
USDA Zone | Minimum Temp (f)
1a | -55
1b | -50
2a | -45
2b | -40
3a | -35
3b | -30
4a | -25
4b | -20
5a | -15
5b | -10
6a | -5
6b | 0
7a | 5
7b | 10
8a | 15
8b | 20
9a | 25
9b | 30
10a | 35
10b | 40
11a | 45
11b | 50
12a | 55
12b | 60
13a | 65
13b | 70

## 0. dropdown 2 (hidden)
heated | slab | in | R | KEY | F | in | # | KEY | R |  | in | R
No | Horizontal | 0 | 0 | No_Horizontal_0_0 | 0 | 0 | 1 | 1-0 | 0 | 1 | Vertical | 5
No | Horizontal | 12 | 5 | No_Horizontal_12_5 | 0.72 | Horizontal | 1 | 1-Horizontal | 5 | 2 | Vertical | 7.5
No | Horizontal | 12 | 7.5 | No_Horizontal_12_7.5 | 0.71 | Horizontal | 2 | 2-Horizontal | 7.5 | 3 | Vertical | 10
No | Horizontal | 12 | 10 | No_Horizontal_12_10 | 0.71 | Horizontal | 3 | 3-Horizontal | 10 | 4 | Vertical | 15
No | Horizontal | 12 | 15 | No_Horizontal_12_15 | 0.71 | Horizontal | 4 | 4-Horizontal | 15 | 5 | Vertical | 20
No | Horizontal | 24 | 5 | No_Horizontal_24_5 | 0.7 | Vertical | 1 | 1-Vertical | 5 | 6 | Vertical | 25
No | Horizontal | 24 | 7.5 | No_Horizontal_24_7.5 | 0.7 | Vertical | 2 | 2-Vertical | 7.5 | 7 | Vertical | 30
No | Horizontal | 24 | 10 | No_Horizontal_24_10 | 0.7 | Vertical | 3 | 3-Vertical | 10 | 8 | Vertical
No | Horizontal | 24 | 15 | No_Horizontal_24_15 | 0.69 | Vertical | 4 | 4-Vertical | 15 | 9 | Vertical
No | Horizontal | 36 | 5 | No_Horizontal_36_5 | 0.68 | Vertical | 5 | 5-Vertical | 20 | 10 | Vertical
No | Horizontal | 36 | 7.5 | No_Horizontal_36_7.5 | 0.67 | Vertical | 6 | 6-Vertical | 25 | 11 | Vertical
No | Horizontal | 36 | 10 | No_Horizontal_36_10 | 0.66 | Vertical | 7 | 7-Vertical | 30 | 12 | Vertical
No | Horizontal | 36 | 15 | No_Horizontal_36_15 | 0.66 | full slab | 1 | 1-full slab | 5 | 13 | Vertical
No | Horizontal | 48 | 5 | No_Horizontal_48_5 | 0.67 | full slab | 2 | 2-full slab | 7.5 | 14 | Vertical
No | Horizontal | 48 | 7.5 | No_Horizontal_48_7.5 | 0.65 | full slab | 3 | 3-full slab | 10 | 15 | Vertical
No | Horizontal | 48 | 10 | No_Horizontal_48_10 | 0.64 | full slab | 4 | 4-full slab | 15 | 16 | Vertical
No | Horizontal | 48 | 15 | No_Horizontal_48_15 | 0.63 | full slab | 5 | 5-full slab | 20 | 17 | Vertical
No | Vertical | 12 | 5 | No_Vertical_12_5 | 0.61 | full slab | 6 | 6-full slab | 25 | 18 | Vertical
No | Vertical | 12 | 7.5 | No_Vertical_12_7.5 | 0.6 | full slab | 7 | 7-full slab | 30 | 19 | Vertical
No | Vertical | 12 | 10 | No_Vertical_12_10 | 0.58 | full slab | 8 | 8-full slab | 35 | 20 | Vertical
No | Vertical | 12 | 15 | No_Vertical_12_15 | 0.57 | full slab | 9 | 9-full slab | 40 | 21 | Vertical
No | Vertical | 12 | 20 | No_Vertical_12_20 | 0.567 | full slab | 10 | 10-full slab | 45 | 22 | Vertical
No | Vertical | 12 | 25 | No_Vertical_12_25 | 0.565 | full slab | 11 | 11-full slab | 50 | 23 | Vertical
No | Vertical | 12 | 30 | No_Vertical_12_30 | 0.564 | full slab | 12 | 12-full slab | 55 | 24 | Vertical
No | Vertical | 24 | 5 | No_Vertical_24_5 | 0.58 |  |  |  |  | 25 | Vertical
No | Vertical | 24 | 7.5 | No_Vertical_24_7.5 | 0.56 |  |  |  |  | 26 | Vertical
No | Vertical | 24 | 10 | No_Vertical_24_10 | 0.54 |  |  |  |  | 27 | Vertical
No | Vertical | 24 | 15 | No_Vertical_24_15 | 0.52
No | Vertical | 24 | 20 | No_Vertical_24_20 | 0.51
No | Vertical | 24 | 25 | No_Vertical_24_25 | 0.505
No | Vertical | 24 | 30 | No_Vertical_24_30 | 0.502
No | Vertical | 36 | 5 | No_Vertical_36_5 | 0.56
No | Vertical | 36 | 7.5 | No_Vertical_36_7.5 | 0.53
No | Vertical | 36 | 10 | No_Vertical_36_10 | 0.51
No | Vertical | 36 | 15 | No_Vertical_36_15 | 0.48
No | Vertical | 36 | 20 | No_Vertical_36_20 | 0.472
No | Vertical | 36 | 25 | No_Vertical_36_25 | 0.464
No | Vertical | 36 | 30 | No_Vertical_36_30 | 0.46
No | Vertical | 48 | 5 | No_Vertical_48_5 | 0.54
No | Vertical | 48 | 7.5 | No_Vertical_48_7.5 | 0.51
No | Vertical | 48 | 10 | No_Vertical_48_10 | 0.48
No | Vertical | 48 | 15 | No_Vertical_48_15 | 0.45
No | Vertical | 48 | 20 | No_Vertical_48_20 | 0.434
No | Vertical | 48 | 25 | No_Vertical_48_25 | 0.424
No | Vertical | 48 | 30 | No_Vertical_48_30 | 0.419
No | full slab | full slab | 5 | No_full slab_full slab_5 | 0.46
No | full slab | full slab | 7.5 | No_full slab_full slab_7.5 | 0.41
No | full slab | full slab | 10 | No_full slab_full slab_10 | 0.36
No | full slab | full slab | 15 | No_full slab_full slab_15 | 0.3
No | full slab | full slab | 20 | No_full slab_full slab_20 | 0.261
No | full slab | full slab | 25 | No_full slab_full slab_25 | 0.233
No | full slab | full slab | 30 | No_full slab_full slab_30 | 0.213
No | full slab | full slab | 35 | No_full slab_full slab_35 | 0.198
No | full slab | full slab | 40 | No_full slab_full slab_40 | 0.186
No | full slab | full slab | 45 | No_full slab_full slab_45 | 176
No | full slab | full slab | 50 | No_full slab_full slab_50 | 0.168
No | full slab | full slab | 55 | No_full slab_full slab_55 | 0.161
Yes | Horizontal | 0 | 0 | Yes_Horizontal_0_0 | 1.35
Yes | Horizontal | 12 | 5 | Yes_Horizontal_12_5 | 1.31
Yes | Horizontal | 12 | 7.5 | Yes_Horizontal_12_7.5 | 1.31
Yes | Horizontal | 12 | 10 | Yes_Horizontal_12_10 | 1.3
Yes | Horizontal | 12 | 15 | Yes_Horizontal_12_15 | 1.3
Yes | Horizontal | 24 | 5 | Yes_Horizontal_24_5 | 1.28
Yes | Horizontal | 24 | 7.5 | Yes_Horizontal_24_7.5 | 1.27
Yes | Horizontal | 24 | 10 | Yes_Horizontal_24_10 | 1.26
Yes | Horizontal | 24 | 15 | Yes_Horizontal_24_15 | 1.25
Yes | Horizontal | 36 | 5 | Yes_Horizontal_36_5 | 1.24
Yes | Horizontal | 36 | 7.5 | Yes_Horizontal_36_7.5 | 1.21
Yes | Horizontal | 36 | 10 | Yes_Horizontal_36_10 | 1.2
Yes | Horizontal | 36 | 15 | Yes_Horizontal_36_15 | 1.18
Yes | Horizontal | 48 | 5 | Yes_Horizontal_48_5 | 1.2
Yes | Horizontal | 48 | 7.5 | Yes_Horizontal_48_7.5 | 1.17
Yes | Horizontal | 48 | 10 | Yes_Horizontal_48_10 | 1.13
Yes | Horizontal | 48 | 15 | Yes_Horizontal_48_15 | 1.11
Yes | Vertical | 12 | 5 | Yes_Vertical_12_5 | 1.06
Yes | Vertical | 12 | 7.5 | Yes_Vertical_12_7.5 | 1.02
Yes | Vertical | 12 | 10 | Yes_Vertical_12_10 | 1
Yes | Vertical | 12 | 15 | Yes_Vertical_12_15 | 0.98
Yes | Vertical | 12 | 20 | Yes_Vertical_12_20 | 968
Yes | Vertical | 12 | 25 | Yes_Vertical_12_25 | 0.964
Yes | Vertical | 12 | 30 | Yes_Vertical_12_30 | 0.961
Yes | Vertical | 24 | 5 | Yes_Vertical_24_5 | 0.99
Yes | Vertical | 24 | 7.5 | Yes_Vertical_24_7.5 | 0.95
Yes | Vertical | 24 | 10 | Yes_Vertical_24_10 | 0.9
Yes | Vertical | 24 | 15 | Yes_Vertical_24_15 | 0.86
Yes | Vertical | 24 | 20 | Yes_Vertical_24_20 | 0.843
Yes | Vertical | 24 | 25 | Yes_Vertical_24_25 | 0.832
Yes | Vertical | 24 | 30 | Yes_Vertical_24_30 | 0.827
Yes | Vertical | 36 | 5 | Yes_Vertical_36_5 | 0.95
Yes | Vertical | 36 | 7.5 | Yes_Vertical_36_7.5 | 0.89
Yes | Vertical | 36 | 10 | Yes_Vertical_36_10 | 0.84
Yes | Vertical | 36 | 15 | Yes_Vertical_36_15 | 0.79
Yes | Vertical | 36 | 20 | Yes_Vertical_36_20 | 0.762
Yes | Vertical | 36 | 25 | Yes_Vertical_36_25 | 0.747
Yes | Vertical | 36 | 30 | Yes_Vertical_36_30 | 0.74
Yes | Vertical | 48 | 5 | Yes_Vertical_48_5 | 0.91
Yes | Vertical | 48 | 7.5 | Yes_Vertical_48_7.5 | 0.85
Yes | Vertical | 48 | 10 | Yes_Vertical_48_10 | 0.77
Yes | Vertical | 48 | 15 | Yes_Vertical_48_15 | 0.72
Yes | Vertical | 48 | 20 | Yes_Vertical_48_20 | 0.688
Yes | Vertical | 48 | 25 | Yes_Vertical_48_25 | 0.671
Yes | Vertical | 48 | 30 | Yes_Vertical_48_30 | 0.659
Yes | full slab | full slab | 5 | Yes_full slab_full slab_5 | 0.74
Yes | full slab | full slab | 7.5 | Yes_full slab_full slab_7.5 | 0.64
Yes | full slab | full slab | 10 | Yes_full slab_full slab_10 | 0.55
Yes | full slab | full slab | 15 | Yes_full slab_full slab_15 | 0.44
Yes | full slab | full slab | 20 | Yes_full slab_full slab_20 | 0.373
Yes | full slab | full slab | 25 | Yes_full slab_full slab_25 | 0.326
Yes | full slab | full slab | 30 | Yes_full slab_full slab_30 | 0.296
Yes | full slab | full slab | 35 | Yes_full slab_full slab_35 | 0.273
Yes | full slab | full slab | 40 | Yes_full slab_full slab_40 | 0.255
Yes | full slab | full slab | 45 | Yes_full slab_full slab_45 | 0.239
Yes | full slab | full slab | 50 | Yes_full slab_full slab_50 | 0.227
Yes | full slab | full slab | 55 | Yes_full slab_full slab_55 | 0.217

## 0. Heat loss data (hidden)
Infilatration Losses |  | Air Properties
Translation | AC/Hr |  | Imp |  | SI |  |  | Fuel Drop Down Menu | Unit of Measure |  | BTUs/Unit |  | Thermal Mass Material |  | Density |  | Heat Capacity |  | Conversion
Leaky | 1 | cp | 0.018 | Btu/lbft | 1.005 | KJ/kgK |  | CCF, Gas | CCF | Cost/CCF ($) | 103200 | BTU/CCF |  | Volume | kg/m3 | lb/ft3 | kJ/KgC | btu/lbmF
Tight | 0.5 | ρ | 0.00251 | slug/cuft | 1.293 | kg/m3 |  | Electricity (Kwhrs) | kWhrs | Cost/Kwhr ($) | 3412.14 | BTU/Kwhr | Aluminum | ft3 | 2700 | 168.48 | 2.484 | 0.59368 | 1 kJ/kgc | Equals | 0.239 | btu/lbgF
Very Tight | 0.33 | [6 empty] | MCF, Gas | MCF | Cost/MCF ($) | 1032000 | BTU/MCF | Brick | ft3 | 1969 | 122.8656 | 1.813 | 0.43331 | 1 kg/m3 | Equals | 0.0624 | lb/ft3
[8 empty] | Therm US, Gas | Therm | Cost/Therm ($) | 99976.12 | BTU/Therm | Cast Iron | ft3 | 7200 | 449.28 | 3.889 | 0.92947 | 1 gallon | Equals | 8.35 | lbs
[8 empty] | Oil (Gallon) | Gallon | Cost/Gallon ($) | 138700 | BTU/Gallon | Concrete | ft3 | 2305 | 143.832 | 2.122 | 0.50716 | 1 ton | Equals | 2000 | lbs
[8 empty] | Wood (Tons) | Ton | Cost/Ton ($) | 12462045.1198 | BTU/Ton | Ethylene glycol/Water (50% mix) | gallons | 1075 | 67.08 | 3.741 | 0.8941
[8 empty] | Wood (Cords) | Cord | Cost/Cord ($) |  | BTU/Cord | Fireclay | ft3 | 2300 | 143.52 | 2.4 | 0.5736
[8 empty] | GJ, Gas | GJ | Cost/GJ | 947817 | BTU/GJ | Granite | ft3 | 2400 | 149.76 | 1.896 | 0.45314
[8 empty] | Litres/Oil | Litre | Cost/Litre | 36316 | BTU/Litre | Rock | ft3 | 2400 | 149.76 | 1.896 | 0.45314
[8 empty] | lb, Propane | lb | Cost/lb | 21600 | BTU/lb | Water | gallons | 1000 | 62.4 | 4.19 | 1.0014
[8 empty] | Litres, Propane | Litre | Cost/Litre | 23947.4 | BTU/Ltire
[8 empty] | Gal, Propane | Gallon | Cost/Gallon | 91600 | BTU/Gallon
Heating Degree Days
|  | Month | Degree Days | Fraction |  | Average # of hrs/month | 712
|  | January | 622 | 0.24146
|  | February | 579 | 0.22477
|  | March | 150 | 0.05823
|  | April | 30 | 0.011646
|  | May | 13 | 0.0050466
|  | June | 0 | 0
|  | July | 0 | 0
|  | August | 0 | 0
|  | September | 4 | 0.0015528
|  | October | 164 | 0.063665
|  | November | 206 | 0.079969
|  | December | 808 | 0.31366
|  | Total | 2576

## Drop Down Menu Data (hidden)
[16 empty] | Type of Light |  | Acronym | Power Needed | Lumens/watt | Distance from plants | Temperature | Cost (2014) |  | Lifespan | Pros | Cons
[19 empty] | Watts/ft2 |  | Inches | F |  |  | Hours
[16 empty] | High Pressure Sodium (HID) |  | HID - HPS | 62.5 | 140 | 4"-6" | 600 | 150 | Bulb and ballast, $15/bulb | 18000 | Produces a yellowish light that is great for flower and fruit production, can be used for all growth stages, highest yield per watt, can be hung once at the right hight without guessing unlike LED's and flourecents | Generates a lot of heat so may require ventiliation, this might also solve the additional heat requirement of the greenhouse, HID requires an external balast and additional wires
[16 empty] | Light Emitting Diode |  | LED | 32 | 25 | 10"-16" | 70 | 200 | sqft | 100000 | Run cooler thatn HID lights and come with built in cooling, easier to set up LED's over HID's, more power efficient than all of the othe lights, some LED's can vary their light spectrum. | Larger LED's may still need venting,
[16 empty] | Metal Halide (HID) |  | HID - MH | 62.5 | 125 | 2"-4" | 500 | 150 | Bulb and ballast, $15/bulb | 10000 | Produce a blueish light that is great for vegetative growth, can be used for all growth stages, second highest yield per watt after HPS, can be hung once at the right hight without guessing unlike LED's and flourecents | Generate a lot of heat so may require ventiliation, this might also solve the additional heat requirement of the greenhouse, HID requires an external balast and some additional wires
[16 empty] | Flourecent (T5) |  | T5 | 50 | 110 | 2"-4" | 95 | $5 - $10 | Bulb | 20000 | Cheap to buy, low power usage compared to HID lights, great light spectrum for seedlings, can be placed close to plants without burning which makes them great for seedlings. | Smaller yields per watt than other types of grow lights in flowering stage of plants, LED and HPS will yielde 2-4 times as much per watt of power, light from flourecent will not penetrate down far into the plant so they are better suited to flat crops like greens. Not powerful enough to support tall plants in flowering stage like tomatos.
[16 empty] | Flourecent (CFL) |  | CFL | 50 | 110 | 2"-4" | 95 | 50 | Bulb | 20000 | CFLs are great for tiny spaces, Can use conventional light plug, cheap to buy, low power usage compared to HID's, great light spectrum, can be placed close to plants without burning which makes them great for seedlings. | Smaller yields per watt than other types of grow lights in flowering stage of plants, LED and HPS will yielde 2-4 times as much per watt of power, light from flourecent will not penetrate down far into the plant so they are better suited to flat crops like greens. Not powerful enough to support tall plants in flowering stage like tomatos.
Percentage Drop Down
1% | Weekly Evaporation Table |  |  |  | # of Fuel Sources |  | Yes/No Menu
2% |  | mm/week | Litres/week/m2 |  | 1 |  | No
3% | Climate Type |  |  |  | 2 |  | Yes
4% | Cool Humid | 21.5 | 10
5% | Cool Dry | 30 | 10
6% | Warm Humid | 30 | 20
7% | Warm Dry | 40.5 | 20
8% | Hot Humid | 42.5 | 40
9% | Hot Dry | 65.5 | 40
10%
11% | [5 empty] | Material | Hazen-Williams Coefficient -c- |  |  |  | Air Changes per hour
12% | Hours of Light Per Day |  | Diameter of Pipe
13% |  |  | Inches |  |  |  | Low | Ave | High |  | 1
14% | 1 |  | 4.5 |  |  | ABS - Acrylonite Butadiene Styrene | 130 | 130 |  |  | 2
15% | 2 |  | 6 |  |  | Aluminum | 130 | 140 | 150 |  | 3
16% | 3 |  | 8 |  |  | Brick sewer | 90 | 95 | 100 |  | 4
17% | 4 |  | 10 |  |  | Big O Pipe | 40 | 50 | 60 |  | 5
18% | 5 |  | 12 |  |  | Cast-Iron - new unlined (CIP) | 130 | 130 |  |  | 6
19% | 6 |  | 14 |  |  | Cast-Iron 10 years old | 107 | 110 | 113 |  | 7
20% | 7 |  | 16 |  |  | Cast-Iron 20 years old | 89 | 94.5 | 100 |  | 8
21% | 8 |  | 18 |  |  | Cast-Iron 30 years old | 75 | 82.5 | 90 |  | 9
22% | 9 |  | 20 |  |  | Cast-Iron 40 years old | 64 | 73.5 | 83 |  | 10
23% | 10 |  | 22 |  |  | Concrete | 100 | 120 | 140
24% | 11 |  | 24 |  |  | Corrugated Metal | 60 | 60
25% | 12 |  | 26 |  |  | Fiber Glass Pipe - FRP | 150 | 150 |  |  | Dia of heat pipe
26% | 13 |  | 28 |  |  | Galvanized iron | 120 | 120
27% | 14 |  | 30 |  |  | Metal Pipes - Very to extremely smooth | 130 | 135 | 140 |  | 4.5
28% | 15 |  | 32 |  |  | Plastic | 130 | 140 | 150 |  | 6 |  |  |  | Aluminum |  | 2700 | 168.48 | 2.484 | 0.59368
29% | 16 |  |  |  |  | Polyethylene, PE, PEH | 140 | 140 | [6 empty] | Brick |  | 1969 | 122.8656 | 1.813 | 0.43331
30% | 17 |  |  |  |  | Polyvinyl chloride, PVC, CPVC | 150 | 150 | [6 empty] | Cast Iron |  | 7200 | 449.28 | 3.889 | 0.92947
31% | 18 |  |  |  |  | Smooth Pipes | 140 | 140 | [6 empty] | Concrete |  | 2305 | 143.832 | 2.122 | 0.50716
32% | 19 |  |  |  |  | Steel new unlined | 140 | 145 | 150 | [5 empty] | Ethylene glycol/Water (50% mix) |  | 1075 | 67.08 | 3.741 | 0.8941
33% | 20 |  |  |  |  | Steel, corrugated | 60 | 60 | [6 empty] | Fireclay |  | 2300 | 143.52 | 2.4 | 0.5736
34% | 21 |  |  |  |  | Steel, welded and seamless | 100 | 100 | [6 empty] | Granite |  | 2400 | 149.76 | 1.896 | 0.45314
35% | 22 |  |  |  |  | Steel, interior riveted, no projecting rivets | 110 | 110 | [6 empty] | Rock |  | 2400 | 149.76 | 1.896 | 0.45314
36% | 23 |  |  |  |  | Steel, welded and seamless | 100 | 100 | [6 empty] | Water |  | 1000 | 62.4 | 4.19 | 1.0014
37% | 24 |  |  |  |  | Vitrified Clay | 110 | 110
38%
39%
40% | Thermal Mass Material |  | Density |  | Heat Capacity |  |  |  | Conversion
41% |  | Volume | kg/m3 | lb/ft3 | kJ/KgC | btu/lbmF
42% | Aluminum | ft3 | 2700 | 168.48 | 2.484 | 0.59368 |  |  | 1 kJ/kgc | Equals | 0.239 | btu/lbgF
43% | Brick | ft3 | 1969 | 122.8656 | 1.813 | 0.43331 |  |  | 1 kg/m3 | Equals | 0.0624 | lb/ft3
44% | Cast Iron | ft3 | 7200 | 449.28 | 3.889 | 0.92947 |  |  | 1 gallon | Equals | 8.35 | lbs
45% | Concrete | ft3 | 2305 | 143.832 | 2.122 | 0.50716 |  |  | 1 ton | Equals | 2000 | lbs
46% | Ethylene glycol/Water (50% mix) | gallons | 1075 | 67.08 | 3.741 | 0.8941
47% | Fireclay | ft3 | 2300 | 143.52 | 2.4 | 0.5736
48% | Granite | ft3 | 2400 | 149.76 | 1.896 | 0.45314
49% | Rock | ft3 | 2400 | 149.76 | 1.896 | 0.45314
50% | Water | gallons | 1000 | 62.4 | 4.19 | 1.0014
51%
52% |  | Water Eq |  | Mass |  | Thermal Storage/ft2 (Potential) |  | Energy Capacity | [5 empty] | Volume | Mass | Energy Capacity
53% | Mass to Glazing ratio | Litres/ft2 | Gal/ft2 | kg | lb | kJ/C | btu/F | KJ/C | BTU/F |  |  |  |  | ft3 | lbs | BTU/F(sqft of glazing)
54% | Extreme Cold | 11.4 | 3 | 11.4 | 25.05 | 47.766 | 11.4161 | 544.5324 | 285.9727 |  |  | Floors | 5.5 ft2@4"/sqft of glazing | 1.8333 | 263.692 | 133.7335 | For 5.5sqft @ 4" thick | 24.3152
55% | Cold | 9.5 | 2.5 | 9.5 | 20.875 | 39.805 | 9.5134 |  |  |  |  | Wall | 8 ft2@4"/sqft of glazing | 2.6667 | 383.552 | 194.5215 | For 8 sqft @4" thick | 24.3152
56% | Cool | 5.7 | 1.5 | 5.7 | 12.525 | 23.883 | 5.708
57%
58%
59%
60% | Massing Strategy | [6 empty] | Rough Pipe |  |  | Smooth Pipe
61% | [7 empty] | Heat Pipe Diameter (inches) | Recommended CFM |  | Recommended CFM
62% | Optimized for Peak Heat Loss | 22099.2 | BTU/Hr | [5 empty] | Low | High | Low (0.1 in. Static Water) | High (0.3in. Static Wtr)
63% | High Mass Walls |  |  |  |  | Internal Pipe Surface
64% | Medium Mass Walls | [6 empty] | 4.5 | 20 | 50 | 50 | 90
65% | Low Mass Walls |  |  |  |  | Rough |  | 6 | 75 | 110 | 110 | 200
66% | [5 empty] | Smooth |  | 8 | 160 | 240 | 240 | 420
67% | [7 empty] | 10 | 290 | 400 | 400 | 800
68% | [5 empty] | 4.5 |  | 12 | 490 | 650 | 650 | 1000
69% |  |  |  | Month | Days | 6
70% |  |  |  | January | 31 | 8
71% |  |  |  | February | 28 | 10
72% |  |  |  | March | 31 | 12 |  |  | Inlet/Outlet Duct Size
73% |  |  |  | April | 30 |  |  |  | CFM |  | Diameter (in)
74% |  |  |  | May | 31 |  |  |  | Low (0.05 in. Static Water) | High (0.1in. Static Wtr)
75% |  |  |  | June | 30 |  |  |  | 75 | 134 | 6
76% |  |  |  | July | 31 | Distance between heat pipe lifts |  |  | 135 | 264 | 8
77% |  |  |  | August | 31 | ft |  |  | 265 | 444 | 10
78% |  |  |  | September | 30 | 1 |  |  | 445 | 724 | 12
79% |  |  |  | October | 31 | 2 |  |  | 725 | 999 | 14
80% |  |  |  | November | 30 | 3 |  |  | 1000 | 1489 | 16
81% |  |  |  | December | 31 | 4 |  |  | 1490 | 1949 | 18
82% | [8 empty] | 1950 | 2799 | 20
83% |  |  |  |  | 365 |  |  |  | 2800 | 3949 | 24
84% | [8 empty] | 3950 | 5200 | 26
85%
86%
87%
88%
89%
90%
91%
92%
93%
94%
95%
96%
97%
98%
99%
100%

## 0. Wood Heating Value Data (hidden)
Common Name | Latin Name | Pounds/Cord | MBTU/Cord | Tons/Cord | MBTU/Ton | BTU/Ton | Cords/Ton | BTU/Cord | 1 ton | 2000 | lbs
Osage Orange (Hedge) | Maclura pomifera | 4845 | 30 | 2.4225 | 12.3839 | 12383900.9288 | 0.4128 | 30000000 | 1 MBTU | 1000000 | BTU
Hop Hornbeam (Ironwood) | Ostrya virginiana | 4250 | 26.4 | 2.125 | 12.4235 | 12423529.4118 | 0.47059 | 26400000
Persimmon, American | Diospyros virginiana | 4165 | 25.8 | 2.0825 | 12.389 | 12388955.5822 | 0.48019 | 25800000
Hickory, Shagbark | Carya ovata | 4080 | 25.3 | 2.04 | 12.402 | 12401960.7843 | 0.4902 | 25300000
Dogwood, Pacific | Cornus nuttallii | 3995 | 24.8 | 1.9975 | 12.4155 | 12415519.3992 | 0.50063 | 24800000
Holly, American | Ilex Opaca | 3995 | 24.8 | 1.9975 | 12.4155 | 12415519.3992 | 0.50063 | 24800000
Birch, Black | Betula lenta | 3890 | 24.2 | 1.945 | 12.4422 | 12442159.383 | 0.51414 | 24200000
Oak, White | Quercus alba | 3910 | 24.2 | 1.955 | 12.3785 | 12378516.624 | 0.51151 | 24200000
Beech, Blue (Ironwood) | Carpinus caroliniana | 3825 | 23.7 | 1.9125 | 12.3922 | 12392156.8627 | 0.52288 | 23700000
Hickory, Bitternut | Carya cordiformis | 3825 | 23.7 | 1.9125 | 12.3922 | 12392156.8627 | 0.52288 | 23700000
Locust, Honey | Gleditsia triacanthos | 3825 | 23.7 | 1.9125 | 12.3922 | 12392156.8627 | 0.52288 | 23700000
Madrone, Pacific (Arbutus) | Arbutus menziesii | 3825 | 23.7 | 1.9125 | 12.3922 | 12392156.8627 | 0.52288 | 23700000
Oak, Post | Quercus stellata | 3825 | 23.7 | 1.9125 | 12.3922 | 12392156.8627 | 0.52288 | 23700000
Locust, Black | Robinia pseudoacacia | 3740 | 23.2 | 1.87 | 12.4064 | 12406417.1123 | 0.53476 | 23200000
Maple, Sugar | Acer saccharum | 3740 | 23.2 | 1.87 | 12.4064 | 12406417.1123 | 0.53476 | 23200000
Mulberry | Morus rubra | 3740 | 23.2 | 1.87 | 12.4064 | 12406417.1123 | 0.53476 | 23200000
Beech, American | Fagus grandifolia | 3655 | 22.7 | 1.8275 | 12.4213 | 12421340.6293 | 0.5472 | 22700000
Oak, Bur (Mossycup) | Quercus macrocarpa | 3655 | 22.7 | 1.8275 | 12.4213 | 12421340.6293 | 0.5472 | 22700000
Oak, Oregon (Garry) | Quercus garryana | 3655 | 22.7 | 1.8275 | 12.4213 | 12421340.6293 | 0.5472 | 22700000
Birch, Yellow | Betula alleghaniensis | 3570 | 22.1 | 1.785 | 12.381 | 12380952.381 | 0.56022 | 22100000
Oak, Red | Quercus rubra | 3570 | 22.1 | 1.785 | 12.381 | 12380952.381 | 0.56022 | 22100000
Apple | Malus domestica | 3485 | 21.6 | 1.7425 | 12.396 | 12395982.7834 | 0.57389 | 21600000
Ash, White | Fraxinus americana | 3485 | 21.6 | 1.7425 | 12.396 | 12395982.7834 | 0.57389 | 21600000
Myrtle, Oregon (Pepperwood) | Umbellularia californica | 3485 | 21.6 | 1.7425 | 12.396 | 12395982.7834 | 0.57389 | 21600000
Ash, Green | Fraxinus pennsylvanica | 3400 | 21.1 | 1.7 | 12.4118 | 12411764.7059 | 0.58824 | 21100000
Maple, Black | Acer nigrum | 3400 | 21.1 | 1.7 | 12.4118 | 12411764.7059 | 0.58824 | 21100000
Ash, Oregon | Fraxinus latifolia | 3230 | 20 | 1.615 | 12.3839 | 12383900.9288 | 0.6192 | 20000000
Birch, White (Paper) | Betula papyrifera | 3230 | 20 | 1.615 | 12.3839 | 12383900.9288 | 0.6192 | 20000000
Maple, Red | Acer rubrum | 3230 | 20 | 1.615 | 12.3839 | 12383900.9288 | 0.6192 | 20000000
Walnut, Black | Juglans nigra | 3230 | 20 | 1.615 | 12.3839 | 12383900.9288 | 0.6192 | 20000000
Birch, Gray | Betula populifolia | 3145 | 19.5 | 1.5725 | 12.4006 | 12400635.93 | 0.63593 | 19500000
Cherry, Black | Prunus serotina | 3145 | 19.5 | 1.5725 | 12.4006 | 12400635.93 | 0.63593 | 19500000
Hackberry | Celtis occidentalis | 3145 | 19.5 | 1.5725 | 12.4006 | 12400635.93 | 0.63593 | 19500000
Juniper, Rocky Mtn | Juniperus scopulorum | 3145 | 19.5 | 1.5725 | 12.4006 | 12400635.93 | 0.63593 | 19500000
Tamarack (Larch) | Larix laricina | 3145 | 19.5 | 1.5725 | 12.4006 | 12400635.93 | 0.63593 | 19500000
Coffeetree, Kentucky | Gymnocladus dioicus | 3060 | 19 | 1.53 | 12.4183 | 12418300.6536 | 0.65359 | 19000000
Elm, Red | Ulmus rubra | 3060 | 19 | 1.53 | 12.4183 | 12418300.6536 | 0.65359 | 19000000
Sorrel (Sourwood) | Oxydendrum arboreum | 3060 | 19 | 1.53 | 12.4183 | 12418300.6536 | 0.65359 | 19000000
Elm, American | Ulmus americana | 2975 | 18.4 | 1.4875 | 12.3697 | 12369747.8992 | 0.67227 | 18400000
Eucalyptus (Red Gum) | Eucalyptus camaldulensis | 2975 | 18.4 | 1.4875 | 12.3697 | 12369747.8992 | 0.67227 | 18400000
Ash, Black | Fraxinus nigra | 2890 | 17.9 | 1.445 | 12.3875 | 12387543.2526 | 0.69204 | 17900000
Boxelder (Maple Ash) | Acer negundo | 2890 | 17.9 | 1.445 | 12.3875 | 12387543.2526 | 0.69204 | 17900000
Elm, White (Russian) | Ulmus laevis | 2890 | 17.9 | 1.445 | 12.3875 | 12387543.2526 | 0.69204 | 17900000
Maple, Big Leaf | Acer macrophyllum | 2890 | 17.9 | 1.445 | 12.3875 | 12387543.2526 | 0.69204 | 17900000
Pine, Norway (Red) | Pinus resinosa | 2890 | 17.9 | 1.445 | 12.3875 | 12387543.2526 | 0.69204 | 17900000
Sycamore, American | Platanus occidentalis | 2890 | 17.9 | 1.445 | 12.3875 | 12387543.2526 | 0.69204 | 17900000
Fir, Douglas | Pseudotsuga menziesii | 2805 | 17.4 | 1.4025 | 12.4064 | 12406417.1123 | 0.71301 | 17400000
Maple, Silver | Acer saccharinum | 2805 | 17.4 | 1.4025 | 12.4064 | 12406417.1123 | 0.71301 | 17400000
Compressed Sawdust Logs * | Firelog | 2000 | 16.5 | 1 | 16.5 | 16500000 | 1 | 16500000
Pine, Pitch | Pinus rigida | 2635 | 16.3 | 1.3175 | 12.3719 | 12371916.5085 | 0.75901 | 16300000
Hemlock | Pinaceae tsuga | 2465 | 15.3 | 1.2325 | 12.4138 | 12413793.1034 | 0.81136 | 15300000
Pine, Lodgepole | Pinus contora latifolia | 2465 | 15.3 | 1.2325 | 12.4138 | 12413793.1034 | 0.81136 | 15300000
Spruce, Black | Picea mariana | 2465 | 15.3 | 1.2325 | 12.4138 | 12413793.1034 | 0.81136 | 15300000
Alder, Red or White | Alnus rubra or rhombifolia | 2380 | 14.8 | 1.19 | 12.437 | 12436974.7899 | 0.84034 | 14800000
Catalpa (Catawba) | Catalpa speciosa | 2380 | 14.8 | 1.19 | 12.437 | 12436974.7899 | 0.84034 | 14800000
Pine, Jack (Canadian) | Pinus banksiana | 2380 | 14.8 | 1.19 | 12.437 | 12436974.7899 | 0.84034 | 14800000
Pine, Ponderosa | Pinus ponderosa | 2380 | 14.8 | 1.19 | 12.437 | 12436974.7899 | 0.84034 | 14800000
Spruce, Sitka | Picea sitchensis | 2380 | 14.8 | 1.19 | 12.437 | 12436974.7899 | 0.84034 | 14800000
Pine, White (Idaho) | Pinus monticola | 2236 | 14.3 | 1.118 | 12.7907 | 12790697.6744 | 0.89445 | 14300000
Fir, Concolor (White) | Abies concolor | 2295 | 14.2 | 1.1475 | 12.3747 | 12374727.6688 | 0.87146 | 14200000
Willow | Salix | 2295 | 14.2 | 1.1475 | 12.3747 | 12374727.6688 | 0.87146 | 14200000
Aspen, American (Poplar) | Populus tremuloides | 2210 | 13.7 | 1.105 | 12.3982 | 12398190.0452 | 0.90498 | 13700000
Basswood (Linden) | Tilia americana | 2210 | 13.7 | 1.105 | 12.3982 | 12398190.0452 | 0.90498 | 13700000
Butternut (White Walnut) | Juglans cinerea | 2125 | 13.2 | 1.0625 | 12.4235 | 12423529.4118 | 0.94118 | 13200000
Fir, Balsam | Abies balsamea | 2125 | 13.2 | 1.0625 | 12.4235 | 12423529.4118 | 0.94118 | 13200000
Pine, White (Eastern) | Pinus strobus | 2125 | 13.2 | 1.0625 | 12.4235 | 12423529.4118 | 0.94118 | 13200000
Cottonwood (Balsam Poplar) | Populus trichocarpa | 2040 | 12.6 | 1.02 | 12.3529 | 12352941.1765 | 0.98039 | 12600000
Buckeye, Ohio | Aesculus glabra | 1955 | 12.1 | 0.9775 | 12.3785 | 12378516.624 | 1.023 | 12100000
Cedar, Eastern (Redcedar) | Juniperus virginiana | 1955 | 12.1 | 0.9775 | 12.3785 | 12378516.624 | 1.023 | 12100000
Spruce, Engelmann | Picea engelmannii | 1955 | 12.1 | 0.9775 | 12.3785 | 12378516.624 | 1.023 | 12100000
Cedar, White (Whitecedar) | Thuja occidentalis | 1870 | 11.6 | 0.935 | 12.4064 | 12406417.1123 | 1.0695 | 11600000
Bamboo | Poaceae bambusoideae | 1615 | 10 | 0.8075 | 12.3839 | 12383900.9288 | 1.2384 | 10000000
Balsa | Ochroma pyramidale | 935 | 5.8 | 0.4675 | 12.4064 | 12406417.1123 | 2.139 | 5800000
12462045.1198

## 0. dropdown 3 (hidden)
|  |  | Recommended CFM |  | Inlet/Outlet Duct Size |  |  | R
Type | Heat Pipe Diameter (inches) | KEY | Low (0.1 in. Static Water) | High (0.3in. Static Wtr) | CFM |  | Diameter (in) | 0.01
Rough | 4.5 | Rough4.5 | 20 | 50 | Low (0.05 in. Static Water) | High (0.1in. Static Wtr) |  | 0.02
Rough | 6 | Rough6 | 75 | 110 | 75 | 134 | 6 | 0.03
Rough | 8 | Rough8 | 160 | 240 | 135 | 264 | 8 | 0.04
Rough | 10 | Rough10 | 290 | 400 | 265 | 444 | 10 | 0.05
Rough | 12 | Rough12 | 490 | 650 | 445 | 724 | 12 | 0.06
Smooth | 4.5 | Smooth4.5 | 50 | 90 | 725 | 999 | 14 | 0.07
Smooth | 6 | Smooth6 | 110 | 200 | 1000 | 1489 | 16 | 0.08
Smooth | 8 | Smooth8 | 240 | 420 | 1490 | 1949 | 18 | 0.09
Smooth | 10 | Smooth10 | 400 | 800 | 1950 | 2799 | 20 | 0.1
Smooth | 12 | Smooth12 | 650 | 1000 | 2800 | 3949 | 24 | 0.11
[5 empty] | 3950 | 5200 | 26 | 0.12
0.13
0.14
0.15
0.16
0.17
0.18
0.19
0.2
0.21
0.22
0.23
0.24
0.25
0.26
0.27
0.28
0.29
0.3
0.31
0.32
0.33
0.34
0.35
0.36
0.37
0.38
0.39
0.4
0.41
0.42
0.43
0.44
0.45
0.46
0.47
0.48
0.49
0.5
0.51
0.52
0.53
0.54
0.55
0.56
0.57
0.58
0.59
0.6
0.61
0.62
0.63
0.64
0.65
0.66
0.67
0.68
0.69
0.7
0.71
0.72
0.73
0.74
0.75
0.76
0.77
0.78
0.79
0.8
0.81
0.82
0.83
0.84
0.85
0.86
0.87
0.88
0.89
0.9
0.91
0.92
0.93
0.94
0.95
0.96
0.97
0.98
0.99
1
1.01
1.02
1.03
1.04
1.05
1.06
1.07
1.08
1.09
1.1
1.11
1.12
1.13
1.14
1.15
1.16
1.17
1.18
1.19
1.2
1.21
1.22
1.23
1.24
1.25
1.26
1.27
1.28
1.29
1.3
1.31
1.32
1.33
1.34
1.35
1.36
1.37
1.38
1.39
1.4
1.41
1.42
1.43
1.44
1.45
1.46
1.47
1.48
1.49
1.5
1.51
1.52
1.53
1.54
1.55
1.56
1.57
1.58
1.59
1.6
1.61
1.62
1.63
1.64
1.65
1.66
1.67
1.68
1.69
1.7
1.71
1.72
1.73
1.74
1.75
1.76
1.77
1.78
1.79
1.8
1.81
1.82
1.83
1.84
1.85
1.86
1.87
1.88
1.89
1.9
1.91
1.92
1.93
1.94
1.95
1.96
1.97
1.98
1.99
2
2.01
2.02
2.03
2.04
2.05
2.06
2.07
2.08
2.09
2.1
2.11
2.12
2.13
2.14
2.15
2.16
2.17
2.18
2.19
2.2
2.21
2.22
2.23
2.24
2.25
2.26
2.27
2.28
2.29
2.3
2.31
2.32
2.33
2.34
2.35
2.36
2.37
2.38
2.39
2.4
2.41
2.42
2.43
2.44
2.45
2.46
2.47
2.48
2.49
2.5
2.51
2.52
2.53
2.54
2.55
2.56
2.57
2.58
2.59
2.6
2.61
2.62
2.63
2.64
2.65
2.66
2.67
2.68
2.69
2.7
2.71
2.72
2.73
2.74
2.75
2.76
2.77
2.78
2.79
2.8
2.81
2.82
2.83
2.84
2.85
2.86
2.87
2.88
2.89
2.9
2.91
2.92
2.93
2.94
2.95
2.96
2.97
2.98
2.99
3
3.01
3.02
3.03
3.04
3.05
3.06
3.07
3.08
3.09
3.1
3.11
3.12
3.13
3.14
3.15
3.16
3.17
3.18
3.19
3.2
3.21
3.22
3.23
3.24
3.25
3.26
3.27
3.28
3.29
3.3
3.31
3.32
3.33
3.34
3.35
3.36
3.37
3.38
3.39
3.4
3.41
3.42
3.43
3.44
3.45
3.46
3.47
3.48
3.49
3.5
3.51
3.52
3.53
3.54
3.55
3.56
3.57
3.58
3.59
3.6
3.61
3.62
3.63
3.64
3.65
3.66
3.67
3.68
3.69
3.7
3.71
3.72
3.73
3.74
3.75
3.76
3.77
3.78
3.79
3.8
3.81
3.82
3.83
3.84
3.85
3.86
3.87
3.88
3.89
3.9
3.91
3.92
3.93
3.94
3.95
3.96
3.97
3.98
3.99
4
4.01
4.02
4.03
4.04
4.05
4.06
4.07
4.08
4.09
4.1
4.11
4.12
4.13
4.14
4.15
4.16
4.17
4.18
4.19
4.2
4.21
4.22
4.23
4.24
4.25
4.26
4.27
4.28
4.29
4.3
4.31
4.32
4.33
4.34
4.35
4.36
4.37
4.38
4.39
4.4
4.41
4.42
4.43
4.44
4.45
4.46
4.47
4.48
4.49
4.5
4.51
4.52
4.53
4.54
4.55
4.56
4.57
4.58
4.59
4.6
4.61
4.62
4.63
4.64
4.65
4.66
4.67
4.68
4.69
4.7
4.71
4.72
4.73
4.74
4.75
4.76
4.77
4.78
4.79
4.8
4.81
4.82
4.83
4.84
4.85
4.86
4.87
4.88
4.89
4.9
4.91
4.92
4.93
4.94
4.95
4.96
4.97
4.98
4.99
5

## Menu
DEMO VERSION
Passive Solar Greenhouse Design Tool V 1.0 (Beta release)
in partnership with DoMyEXCEL.com
www.vergepermaculture.ca/ghtool
info@vergepermaculture.ca
All contents copyright © 2017 by Verge Permaculture Inc (Verge Permaculture).
All rights reserved. No part of this document may be reproduced or transmitted in any form, by any means (electronic, photocopying, recording, or otherwise) without the prior written permission of the author.
Menu
1. Climate Data
2. Energy Consumption
3. Heat Loss & Cost
4. Thermal Mass Calculator
5. Light Design
6. SH&C Design
Report
ADMIN ACCESS
The following tool has been built to quickly assess the feasibility of a passive solar greenhouse within any cold climate regime. The tool allows users to enter in bioregional climate data as well as a desired internal design temperature in order to optimize greenhouse R value, glazing type, thermal mass and artificial light. The tool will give users an approximate operational cost of lights and heating appliances per month and year so that they can anticipate ongoing energy expenses.
The tool is not meant to provide detailed design information and it is highly recommended that you consult with the appropriate building experts within your bioregion for foundation design, building science, thermal protection and heating system design.
From time to time we will be issuing updates to the tool. To be notified of updates are released go to www.vergepermaculture.ca/ghtool and sign up.
If you have any feedback on the tool or suggestions as to items we could add to make it better please send them to info@vergepermaculture.ca
Macros must be enabled to use this file:
1. Click the Microsoft Office Button , and then click Excel Options.
2. Click Trust Center, click Trust Center Settings, and then click Macro Settings.
3. Click the option "Enable all macros", and then press "OK".

## 1.Climate Data
1. CLIMATE DATA
USDA ZONE TO MIMIC | 10b | [12 empty] | Required Information
MIN INDOOR HEATING TEMP | 40 | [12 empty] | Optional Information
| JAN | FEB | MAR | APR | MAY | JUN | JUL | AUG | SEP | OCT | NOV | DEC | AVE. | TOTAL
AVE TEMP | 68 | 122 | 50 | 32 | 32 | 32 | 32 | 32 | 32 | 32 | 32 | 32 | 44 | 528
HEATING DEGREE DAYS | 622 | 579 | 150 | 30 | 13 | 0 | 0 | 0 | 4 | 164 | 206 | 808 | 214.6667 | 2576 | DEGREE DAY DATABASE | (Base Temperature For Degree Day Information = 40 °F)
GROWING DEGREE DAYS | 40 APR: 45 | 45 | 45
SNOW FALL | 40 JUL: 45 | 45 | 45
AVG. SNOW DEPTH | 40 FEB: 10 | 10 | 10
EXTREME MIN TEMP | 68 | 122 | 50 | 32 | 32 | 32 | 32 | 32 | 32 | 32 | 32 | 32 | 44 | 528
EXTREME MAX TEMP | 68 | 122 | 50 | 32 | 32 | 32 | 32 | 32 | 32 | 32 | 32 | 32 | 44 | 528
WIND DIRECTION | 40 JAN: NE; 40 FEB: NW; 40 MAR: SE; 40 APR: SW; 40 MAY: NW
AVERAGE WIND SPEED | 40 APR: 10; 40 JUL: 4 | 7 | 14
MAXIMUM WIND SPEED | 40 MAR: 45; 40 JUL: 20 | 32.5 | 65
AVE. SUN HOURS | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 9 | 7 | 5 | 3 | 2 | 5.6667 | 68
TEMPERATURE CONVERSION: °C | 40 JAN: 20; 40 FEB: 50; 40 MAR: 10 | COPY TO:
TEMPERATURE CONVERSION: °F | 68 | 122 | 50 | 32 | 32 | 32 | 32 | 32 | 32 | 32 | 32 | 32 | EXTREME MAX TEMP
AVE TEMP
HEATING DEGREE DAYS
GROWING DEGREE DAYS
EXTREME MIN TEMP
EXTREME MAX TEMP
Use the drop down menu to select the USDA climate zone that you wish to mimic
>HELP
Go to www.degreedays.net and enter in your city or closest city in “weather station id”. Click on the “Heating” data type, Fahrenheit Temperature Units, and the Base temperature that as displayed above. Choose monthly in the “breakdown section” and a 12 month “period covered”.
Menu
1. Climate Data
2. Energy Consumption
3. Heat Loss & Cost
4. Thermal Mass Calculator
5. Light Design
6. SH&C Design
Report
>COPY PASTE

## 2.Energy Consumption
Please note, this calculator assumes steady state heat loss and does not account for evaporative and condensing effects for heat loss and gain. The goal of this tool is to get an approximate heat loss based on the local conditions inputted into the sheet. In reality the heat loss could vary higher or lower depending on management, plants and internal layout.
2. ENERGY COMSUMPTION (HEAT LOSS)
| NAME OF GREENHOUSE | Verge Passive Solar Green House
| EXTREME MINIMUM TEMP | -32
| MINIMUM INDOOR DESIGN TEMP (BASE TEMPERATURE) | 40
| DELTA T | 72
| HEATING DEGREE DAYS | 2576
| BUILDING VOLUME | 2000 | ft3
| HEATED SLAB | No
2.1 SURFACE HEAT LOSS: ROOF
| NB OF ROOFS | 2
|  |  | AREA | R - VALUE | U | HOURLY HEAT LOSS | ANNUAL HEAT LOSS
|  | ROOF 1 | 200 | 5 | 0.2 | 2880 | 0 | 1 | 1
|  | ROOF 2 | 100 | 20 | 0.05 | 360 | 0 | 2 | 1
|  | ROOF 3 |  | 30 | 0.033333 | 0 | 0 | 3 | 0
|  | ROOF 4 | [5 empty] | 4 | 0
|  | ROOF 5 | [5 empty] | 5 | 0
|  | ROOF 6 | [5 empty] | 6 | 0
|  | ROOF 7 | [5 empty] | 7 | 0
|  | ROOF 8 | [5 empty] | 8 | 0
|  | ROOF 9 | [5 empty] | 9 | 0
|  | ROOF 10 | [5 empty] | 10 | 0
[5 empty] | TOTAL | 3240 | 0
2.2 SURFACE HEAT LOSS: WALL
| NB OF WALLS | 1
|  |  | AREA | R - VALUE | U | HOURLY HEAT LOSS | ANNUAL HEAT LOSS
|  | NORTH WALL | 200 | 15 | 0.066667 | 960 | 0 | 1 | 1
|  | EAST WALL | 150 | 25 | 0.04 | 432 | 0 | 2 | 0
|  | WEST WALL | 150 | 15 | 0.066667 | 720 | 0 | 3 | 0
|  | SOUTH WALL | 50 | 30 | 0.033333 | 120 | 0 | 4 | 0
|  | WALL 5 | [5 empty] | 5 | 0
|  | WALL 6 | [5 empty] | 6 | 0
|  | WALL 7 | [5 empty] | 7 | 0
|  | WALL 8 | [5 empty] | 8 | 0
|  | WALL 9 | [5 empty] | 9 | 0
|  | WALL 10 | [5 empty] | 10 | 0
[5 empty] | TOTAL | 960 | 0
2.3 SURFACE HEAT LOSS: GLAZING
| NB OF GLAZING SURFACES | 2
|  |  | AREA | R - VALUE | U | HOURLY HEAT LOSS | ANNUAL HEAT LOSS
|  | NORTH GLAZING | 0 | 0.05 | 20 | 0 | 0 | 1 | 1
|  | EAST GLAZING | 10 | 0.05 | 20 | 14400 | 0 | 2 | 1
|  | WEST GLAZING | 10 | 0.07 | 14.2857 | 10285.7143 | 0 | 3 | 0
|  | SOUTH GLAZING | 200 | 0.02 | 50 | 720000 | 0 | 4 | 0
|  | GLAZING 5 | [5 empty] | 5 | 0
|  | GLAZING 6 | [5 empty] | 6 | 0
|  | GLAZING 7 | [5 empty] | 7 | 0
|  | GLAZING 8 | [5 empty] | 8 | 0
|  | GLAZING 9 | [5 empty] | 9 | 0
|  | GLAZING 10 | [5 empty] | 10 | 0
[5 empty] | TOTAL | 14400 | 0
2.4 SURFACE HEAT LOSS: FOOTING
|  | INSULATION DEPTH | 24
|  | INSULATION ORIENTATION | Vertical
|  |  | PERIMETER | R - VALUE |  | HOURLY HEAT LOSS | ANNUAL HEAT LOSS
|  | GREENHOUSE FOOTING | 60 | 20 |  | 2203.2 | 0
2.5 INFILTRATION LOSSES
|  | BUILDING TIGHTNESS | Tight |  |  | HOURLY HEAT LOSS | ANNUAL HEAT LOSS
|  | AIR CHANGES / HOUR | 0.5 |  |  | 1296 | 0
2.6 HEAT LOST TOTALS
[6 empty] | HOURLY HEAT LOSS | ANNUAL HEAT LOSS
[5 empty] | ROOFS | 3240 | 0
[5 empty] | WALLS | 960 | 0
[5 empty] | GLAZING | 14400 | 0
[5 empty] | FOOTING | 2203.2 | 0
[5 empty] | INFILTRATION | 1296 | 0
[5 empty] | TOTALS: | 22099.2 | 0 |  |  | The “Annual Heat Loss” feature is available in the full version of the sheet” to purchase the full version go to
www.vergepermaculture.ca/product/ghtool
> ESTIMATE
> ESTIMATE
For assistance using this tool please visit www.vergepermaculture.ca/greenhousetool where you will find a series of tutorials. The tutorial videos will cover how to fill in all aspects of the tool.
>HELP
Menu
1. Climate Data
2. Energy Consumption
3. Heat Loss & Cost
4. Thermal Mass Calculator
5. Light Design
6. SH&C Design
Report

## 3.Heat Loss & Cost
For assistance using this tool please visit www.vergepermaculture.ca/greenhousetool where you will find a series of tutorials. The tutorial videos will cover how to fill in all aspects of the tool.
3. HEAT LOSS & COST
Available in full version. To purchase the full version go to:
www.vergepermaculture.ca/ghtool
50%
| TOTAL | 0 | 0 | 0 | 0 | 0
| TOTAL ANNUAL FUEL COST | 0
Menu
1. Climate Data
2. Energy Consumption
3. Heat Loss & Cost
4. Thermal Mass Calculator
5. Light Design
6. SH&C Design
Report

## 4.Thermal Mass Calculator
This thermal mass calculator is works on rules of thumb to estimate the minimum amount of thermal mass required based on the glazing area of the greenhouse. In a lot of situations it may not be possible to add in the amount of thermal mass that this calculator recommends. Thermal mass is important to the management and thermal regulation of a greenhouse and so adding as much as you can will go a long way to ensuring a successfull building.
4. THERMAL MASS CALCULATOR
Available in full version. To purchase the full version go to:
www.vergepermaculture.ca/ghtool
2
4
>HELP
For assistance using this tool please visit www.vergepermaculture.ca/greenhousetool where you will find a series of tutorials. The tutorial videos will cover how to fill in all aspects of the tool.
Menu
1. Climate Data
2. Energy Consumption
3. Heat Loss & Cost
4. Thermal Mass Calculator
5. Light Design
6. SH&C Design
Report
Menu
1. Climate Data
2. Energy Consumption
3. Heat Loss & Cost
4. Thermal Mass Calculator
5. Light Design
6. SH&C Design
Report
Menu
1. Climate Data
2. Energy Consumption
3. Heat Loss & Cost
4. Thermal Mass Calculator
5. Light Design
6. SH&C Design
Report
Menu
1. Climate Data
2. Energy Consumption
3. Heat Loss & Cost
4. Thermal Mass Calculator
5. Light Design
6. SH&C Design
Report

## 5.Light Design
This sheet provides a calculator to estimate the amount of artificial light that you will require in order to keep your plants growing in the depth of winter. Generally plants require ~10 hours of light per day to grow effectively. The user will need to determine if the lights need to be on or off based on the day-length, the average sun hours per day and their knowledge of their biome. The goal for this sheet is to assess how much power will be needed to light the greenhouse annually.
5. LIGHT DESIGN
Available in full version. To purchase the full version go to:
www.vergepermaculture.ca/ghtool
2
4
ON
ON
>HELP
For assistance using this tool please visit www.vergepermaculture.ca/greenhousetool where you will find a series of tutorials. The tutorial videos will cover how to fill in all aspects of the tool.
Menu
1. Climate Data
2. Energy Consumption
3. Heat Loss & Cost
4. Thermal Mass Calculator
5. Light Design
6. SH&C Design
Report
For assistance using this tool please visit www.vergepermaculture.ca/greenhousetool where you will find a series of tutorials. The tutorial videos will cover how to fill in all aspects of the tool.
For assistance using this tool please visit www.vergepermaculture.ca/greenhousetool where you will find a series of tutorials. The tutorial videos will cover how to fill in all aspects of the tool.
For assistance using this tool please visit www.vergepermaculture.ca/greenhousetool where you will find a series of tutorials. The tutorial videos will cover how to fill in all aspects of the tool.

## 6.SH&C Design
Subterranean Heating and Cooling Systems (SH&C) are complex systems that need to be modeled using a transient approach to heat transfer. This tool can not guarantee that your SH&C system will function or provide a return on investment. The primary goal of this tool is to make sure that you size the correct manifold and heat pipe size as well as choose a variable speed fan that will give you the highest chance of success with regards to storing heat in the ground. If you require assistance in design and modeling a greenhouse using transient analysis contact us at greenhousetool@vergepermaculture.ca
6. SH&C DESIGN
Available in full version. To purchase the full version go to:
www.vergepermaculture.ca/ghtool
Looks like the actualy CFM of air flow is right in range.
Menu
1. Climate Data
2. Energy Consumption
3. Heat Loss & Cost
4. Thermal Mass Calculator
5. Light Design
6. SH&C Design
Report

## Report
Available in full version. To purchase the full version go to:
www.vergepermaculture.ca/ghtool
Menu
1. Climate Data
2. Energy Consumption
3. Heat Loss & Cost
4. Thermal Mass Calculator
5. Light Design
6. SH&C Design
Report

## Unit Conversion Sheet (hidden)
Multiply | By | To obtain
Cubic yards | 202 | Gallons
Feet | 30.48 | Centimeters
Feet | 0.3048 | Meters
Feet of water | 62.43 | Pounds/square foot
Feet of water | 0.434 | Pounds/square inch
Gallons | 3785 | Cubic centimeters
Gallons | 0.1337 | Cubic feet
Gallons | 3.785 | Liters
Gallons water | 8.3453 | Pounds of water
Gallons/minute | 2.228 x 10⁻³ | Cubic feet/second
Gallons/minute | 1440 | Gallons/day
Gallons/minute | 0.06308 | Liters/second
Gallons/day | 6.944 x 10⁻⁴ | Gallons/minute
Gallons/day/square foot | 1.604 | Inches/day
Grams | 2.205 x 10⁻³ | Pounds
Grams/liter | 1000 | Parts/million
Hectares | 2.471 | Acres
Horsepower | 33000 | Foot-pounds/minute
Horsepower | 0.7457 | Kilowatts
Inches | 2.54 | Centimeters
Inches/day | 0.6234 | Gallons/day/square foot
Kilograms | 2.205 | Pounds
Kilowatts | 1.341 | Horsepower
Kilowatt-hours | 2.655 x 10⁶ | Foot-pounds
Liters | 103 | Cubic centimeters
Liters | 0.03531 | Cubic feet
Liters | 0.2642 | Gallons
Meters | 3.281 | Feet
Milligrams/liters | 1 | Parts/million
Million gallons/day | 1.5472 | Cubic feet/second
Parts/million | 8.345 | Pounds/million gallons
Pounds | 453.5024 | Grams
Pounds of water | 0.1198 | Gallons
Pounds/square inch | 2.31 | Feet of water
Pounds/square inch | 2.036 | Inches of mercury
Temperature. (°C) +.17.78 | 1.8 | Temperature (°F)
Temperature (°F) - 32 | 5/9 | Temperature (°C)