The Determination of				Name_____________________________
an Equilibrium Constant			Lab Partner________________________

The equilibrium state of a chemical reaction can be characterized by quantitatively defining its equilibrium constant, Kc. In this experiment, you will determine the value of Kc for the reaction between iron (III) ions and thiocyanate ions, SCN–.

Fe3+ (aq) + SCN– (aq) ↔ FeSCN2+ (aq)

When you mix amounts of Fe3+ and SCN–, a reaction occurs to produce FeSCN2+, but not all of the reactants react. Thus, your beaker (or flask or cauldron) will contain some of each of these three species, which is your equilibrium system. To learn more about the system, we need to figure out a way to count the number of different ions in the reaction mixture. That is the major objective of this experiment, and to achieve this objective you will take advantage of something about FeSCN2+ – in aqueous solution it has a reddish color. The two reactants, Fe3+ and SCN–, are essentially colorless in solution, thus the red color you will see when you conduct the reaction is produced by the FeSCN2+ ions.

One of the more important numbers that help us understand an equilibrium system is called the equilibrium constant, Kc. For the reaction between Fe3+ and SCN–, the Kc is defined by the equation shown below.

To find the value of Kc at a given temperature, it is necessary to determine the molar concentration of each of the three species in solution at equilibrium. You will determine the concentrations by using a Vernier Colorimeter or Spectrometer to measure the amount of light of a specific wavelength that passes through a sample of the equilibrium mixtures. The amount of light absorbed by a colored solution is proportional to its concentration. The red FeSCN2+ solution absorbs blue light, thus the Colorimeter users will be instructed to use the 470 nm (blue) LED. Spectrometer users will determine an appropriate wavelength based on the absorbance spectrum of the solution. The wavelength will be close to, but not exactly, 470 nm.

In order to successfully evaluate this equilibrium system, it is necessary to conduct two separate tests. In Part 1 of the experiment, you will prepare a series of standard solutions of FeSCN2+ from solutions of varying concentrations of SCN– and constant concentrations of H+ and Fe3+ that are in stoichiometric excess. The excess of H+ ions will ensure that Fe3+ engages in no side reactions (to form FeOH2+, for example) which could interfere with your measurements. In an excess of SCN–ions, the Fe3+ ions will be the limiting reagent, thus all of the Fe3+ will form FeSCN2+ ions. The FeSCN2+ complex forms slowly, taking at least one minute for the color to develop. It is best to take absorbance readings after a specific length of time has passed, between two and four minutes after preparing the equilibrium mixture. Do not wait much longer than five minutes to take readings, however, because the mixture is light sensitive and the FeSCN2+ ions will slowly decompose.

In Part 2 of the experiment, you will prepare a new series of solutions that have varied concentrations of the SCN– ions and constant concentrations of H+ ions and Fe3+ ions. You will use the results of this test to accurately evaluate the equilibrium concentrations of each species and calculate the Kc of the reaction.

OBJECTIVES

In this experiment, you will

- Prepare and test standard solutions of FeSCN2+ in equilibrium.

- Determine the molar concentrations of the ions present in an equilibrium system.

- Determine the value of the equilibrium constant, Kc, for the reaction.

MATERIALS

| Vernier LabQuest Spectrometer | 1.00 M KSCN |
| --- | --- |
| plastic cuvette two pipets | 0.0025 M Fe(NO3)3 |
| 100 mL graduated cylinder or five small beakers (100-250 mL) | 0.0025 M KSCN |

Pre-lab Questoins:

- How is Le Chatelier’s Principle used to establish a known concentration of [Fe(SCN)2+] ?

- For the solutions that you will prepare Part 1, calculate the [FeSCN2+]. Presume that all of the Fe+3 ions react. In Part 1 of the experiment, mol of Fe+3 = mol of FeSCN2+. Record these values in the table below.  Show a representative calculation for the concentration in Beaker 1.

| Beaker number | [FeSCN2+] |
| --- | --- |
| 1 |  |
| 2 |  |
| 3 |  |
| 4 |  |

PROCEDURE

Part I  Prepare and Test Standard Solutions

- Prepare the dilute solution for step 2.  Transfer 4.0 mL of 0.0025M Fe(NO3)3 to a 100 mL graduated cylinder and add water to the 100 mL mark.

- Obtain four small beakers and mix the solutions according to the following chart.

| Beaker | Diluted Fe(NO3)3 (mL) | 1.00M KSCN (mL) | Water (mL) |
| --- | --- | --- | --- |
| 1 | 1 | 5 | 4 |
| 2 | 2 | 5 | 3 |
| 3 | 3 | 5 | 2 |
| 4 | 4 | 5 | 1 |

- Handle cuvettes only by the top edge of the ribbed sides.

- Dislodge any bubbles by gently tapping the cuvette on a hard surface.

- Always position the cuvette so the light passes through the clear sides.

4.	Use a USB cable to connect the Spectrometer to the LabQuest. Choose New from the File menu.

5.	To calibrate the Spectrometer, place the blank cuvette into the cuvette slot of the Spectrometer, choose Calibrate → Spectrometer from the Sensors menu. Wait for the spectrometer to warm up, then tap OK.

6.	Determine the optimum wavelength for the equilibrium mixture and set up the mode of data collection.

- Empty the water from the blank cuvette. Using the solution in Beaker 1, rinse the cuvette twice with ~1 mL amounts and then fill it 3/4 full. Place the cuvette in the Spectrometer.

Start data collection. After a moment, the absorbance vs. wavelength spectrum will be displayed. Stop the data collection. Note that the wavelength of maximum absorbance 
(λ max) is identified. The λ max should be 400 – 480 nm.

Tap the Meter tab. On the Meter screen, tap Mode. Change the mode to Events with Entry.

Enter the Name (Concentration) and Units (mol/L). Select OK.

7.	Collect absorbance-concentration data for the four standard equilibrium mixtures.

- Leave the cuvette, containing the Beaker 1 mixture, in the spectrometer

.

- Start data collection. After the absorbance reading stabilizes, tap Keep and enter the value for the concentration of FeSCN2+ from your Pre-Lab calculations. Select OK. The absorbance and concentration values have now been saved for the first solution.

- Discard the cuvette contents as directed. Using the solution in Beaker 2, rinse the cuvette twice with ~1 mL amounts, and then fill it 3/4 full. Place the cuvette in the device, wait for the value displayed on the screen to stabilize, and tap Keep. Enter the value for the concentration of FeSCN2+ in Beaker 2, then select OK.

Repeat Part c of this step to measure the absorbance of the solutions in Beakers 3 and 4. Note: Wait until Step 10 to test the unknown.

8.	Display a graph of absorbance vs. concentration with a linear regression curve.

- Choose Graph Options from the Graph menu.

Select Autoscale from 0 and select OK

Choose Curve Fit from the Analyze menu

Select Linear as the Fit Equation.

Select OK. The graph should indicate a direct relationship between absorbance and concentration, a relationship known as Beer’s law. Record the linear fit equation in your data table.

Important: Don’t change anything in the LabQuest App. You will use the best-fit line equation in Part 2.

Part 2  Prepare and Test Equilibrium Systems

9.	Label three new small beakers A-C. Prepare the solutions according to the chart below. Use pipets to measure the solutions. Mix each solution thoroughly.

Note: You are using 0.0025 M Fe(NO3)3 and 0.0025 M KSCN  in this test.

| Beaker | 0.0025 M Fe(NO3)3 (mL) | 0.0025 M SCN– (mL) | H2O (mL) |
| --- | --- | --- | --- |
| A | 3.00 | 3.00 | 4.00 |
| B | 3.00 | 4.00 | 3.00 |
| C | 3.00 | 5.00 | 2.00 |

10.	Collect absorbance-concentration data for the three beakers of equilibrium mixtures.

- Using the solution in Beaker A, rinse the cuvette twice with ~1 mL amounts and then fill it 3/4 full. Wipe the outside with a tissue and place the cuvette in the spectrophotometer

- Write down, in your data table, the absorbance of the sample in Beaker A.

Trace along the linear regression equation to find the FeSCN2+ concentration for the sample in Beaker A. Write down the concentration in your data table.

Discard the cuvette contents as directed. Rinse and fill the cuvette with the solution in Beaker B and place it in the device. After the reading stabilizes, write down the absorbance in your data table and use the Interpolate function to determine the concentration of the sample.

Repeat Step d for the mixtures in Beaker C.

DATA TABLE

Part 1

| Beaker | [FeSCN2+] | Absorbance |
| --- | --- | --- |
| 1 |  |  |
| 2 |  |  |
| 3 |  |  |
| 4 |  |  |

| Linear Regression Equation |  |
| --- | --- |

Part 2

| Beaker | Absorbance | [FeSCN2+] at equilibrium |
| --- | --- | --- |
| A |  |  |
| B |  |  |
| C |  |  |

Calculating Equilibrium Concentrations

A common method that is used to organize and calculate the concentrations of the species in an equilibrium system is colloquially known as an I.C.E. chart(R.I.C.E. to others). “I.C.E” stands for Initial concentration, Change in concentration, and the Equilibrium concentration. The initial concentrations of the Fe3+ and the SCN– ions can be calculated from the mixing chart in Part II, Step 10. You have already determined the equilibrium concentration of the FeSCN2+ ions by completing the analysis in Part II. The rest is a little bit of math.

BEAKER A

Fe3+		SCN–		FeSCN2+

| Initial |  |  | 0.00 |
| --- | --- | --- | --- |
| Change |  |  |  |
| Equilibrium |  |  |  |

BEAKER B

Fe3+		SCN–		FeSCN2+

| Initial |  |  | 0.00 |
| --- | --- | --- | --- |
| Change |  |  |  |
| Equilibrium |  |  |  |

BEAKER C

Fe3+		SCN–		FeSCN2+

| Initial |  |  | 0.00 |
| --- | --- | --- | --- |
| Change |  |  |  |
| Equilibrium |  |  |  |

DATA ANALYSIS

1.	(Part II) Use your data to determine the [Fe3+], [SCN–], and [FeSCN2+] at equilibrium for each of the mixtures that you prepared in Part II. Complete the table below and give an example of your calculations.

|  | A | B | C |
| --- | --- | --- | --- |
| [FeSCN2+] |  |  |  |
| [Fe3+] |  |  |  |
| [SCN–] |  |  |  |

2.	Calculate the value of Kc for the reaction. Explain how you used the data to calculate Kc.